Weekly Biobank Management Checklist

* Measure the initial level of all tanks
* Fills Tanks
* Measure final level of tanks
* Fill out the excel sheet Under Teams/Human Tissue/Tank Log
* Check the level of the liquid nitrogen on the tank
* If necessary order more liquid nitrogen

The instructions of how to do this are located on the teams page under ordering.