|  |  |
| --- | --- |
| Slice Thickness = 10 μm | |
| Hydration Pre-wash – D.I. H2O | 1 min |
| **Silver nitrate solution** under white light | 120 min |
| Wash 1 - 4 changes of D.I. H2O | 5-10 sec dunks/each |
| **Sodium thiosulfate solution** | 5 min |
| Wash 2 - 4 changes of D.I. H2O | 5-10 sec dunks/each |
| **Counterstain** (optional) | 5 sec |
| Wash 3 – D.I. H2O | 1 min |
| Ethanol 70 % | 1 min |
| Ethanol 95 % | 1 min |
| Ethanol 100 % | 1 min |
| Ethanol 100 % | 1 min |
| Xylene | 5 min |
| Xylene | 5 min |
| Before Xylene dries, add Perimount to slide and apply coverslip | |