## recipe
Solution: | pCa @37C pH7 | [5 empty] | All masses are in grams and volumes in mL unless explicitly stated. Bold and color any units that are not in grams or mL for an additional visual check.
Made by: | GNM
Date: | 2Feb23
pCa 9.0 | [7 empty] | Amount for 1L | Unit | Amount for 500 mL | Unit | Amount for 250 mL | Unit | Amount for 100 mL | Unit | Amount Added
Compound | Company | Catalog | Lot # | MW | % Purity | Corrected MW | Conc in M (See calculations in MaxChelator output file)
EGTA | Sigma | E4378 | SLCH4035 | 380.35 | 97.9 | 388.5087 | 0.007 | 2.7196 | g | 1.3598 | g | 0.67989 | g | 0.27196 | g
BES | Sigma | 14853 | BCCD5280 | 213.25 | 99.6 | 214.1064 | 0.05 | 10.7053 | g | 5.3527 | g | 2.6763 | g | 1.0705 | g
K Propionate | TCI | P0510 | BQHGI | 112.17 | 100 | 112.17 | 0.048 | 5.3842 | g | 2.6921 | g | 1.346 | g | 0.53842 | g
Creatine Phosphate | Roche | 10621714001 | 58203023 | 327.14 | 100 | 327.14 | 0.0145 | 4.7435 | g | 2.3718 | g | 1.1859 | g | 0.47435 | g
ATP | Roche | 10519987001 | 5520891 | 605.19 | 100 | 605.19 | 0.00458 | 2.7718 | g | 1.3859 | g | 0.69294 | g | 0.27718 | g
DTT | Roche | 56166123 | 10197777001 | 154.25 | 99 | 155.8081 | 0.001 | 0.1558 | g | 0.0779 | g | 0.03895 | g | 0.01558 | g
CaCl2 | Orion | 922006 | ZQ1 | conce in M |  | 0.1003 | 1.86e-05 | 185.4437 | µL | 92.7218 | µL | 46.3609 | µL | 18.5444 | µL
MgCl2 | Stock | NA |  | conce in M |  | 0.5 | 0.00568 | 11.36 | ml | 5.68 | ml | 2.84 | ml | 1.136 | ml
Initial pH |  |  | Target pH | Target Temp (°C)
Final pH |  |  | 7 | 37
Amount of HCl/KOH
Ionic Strength is 180mM if 16mM is used for pHing.
pCa 4.5 | [7 empty] | Amount for 1 L | Unit | Amount for 500 mL | Unit | Amount for 250 mL | Unit | Amount for 100 mL | Unit | Amount Added
Compound | Company | Catalog | Lot # | MW | % Purity | Corrected MW | Conc in M (See calculations in MaxChelator output file)
EGTA | Sigma | E4378 | SLCH4035 | 380.35 | 97.9 | 388.5087 | 0.007 | 2.7196 | g | 1.3598 | g | 0.67989 | g | 0.27196 | g
BES | Sigma | 14853 | BCCD5280 | 213.25 | 99.6 | 214.1064 | 0.05 | 10.7053 | g | 5.3527 | g | 2.6763 | g | 1.0705 | g
K Propionate | TCI | P0510 | BQHGI | 112.17 | 100 | 112.17 | 0.032 | 3.5894 | g | 1.7947 | g | 0.89736 | g | 0.35894 | g
Creatine Phosphate | Roche | 10621714001 | 58203023 | 327.14 | 100 | 327.14 | 0.0145 | 4.7435 | g | 2.3718 | g | 1.1859 | g | 0.47435 | g
ATP | Roche | 10519987001 | 5520891 | 605.19 | 100 | 605.19 | 0.00464 | 2.8081 | g | 1.404 | g | 0.70202 | g | 0.28081 | g
DTT | Roche | 56166123 | 10197777001 | 154.25 | 99 | 155.8081 | 0.001 | 0.1558 | g | 0.0779 | g | 0.03895 | g | 0.01558 | g
CaCl2 | Orion | 922006 | ZQ1 | conce in M |  | 0.1003 | 0.00701 | 69.8903 | ml | 34.9452 | ml | 17.4726 | ml | 6.989 | ml
MgCl2 | Stock | NA |  | conce in M |  | 0.5 | 0.00521 | 10.42 | ml | 5.21 | ml | 2.605 | ml | 1.042 | ml
Initial pH |  |  | Target pH | Target Temp (°C)
Final pH |  |  | 7 | 37
Amount of HCl/KOH
Ionic Strength is 180mM if 32mM is used for pHing.
Notes:

## mixing
pCa Mixing Table
pCa | Prop 9.0 | Prop 4.5 | vials | amt/vial | total volume |  | vol 90 (mL) | Check | vol 45 (mL) | Check
6.6 | 0.60104 | 0.39896 | 45 | 1.5 | 67.5 | 6.6 | 40.5702 |  | 26.9298
6.5 | 0.54455 | 0.45545 | 0 | 1.5 | 0 | 6.5 | 0 |  | 0
6.4 | 0.48697 | 0.51303 | 45 | 1.5 | 67.5 | 6.4 | 32.8705 |  | 34.6295
6.3 | 0.42982 | 0.57018 | 0 | 1.5 | 0 | 6.3 | 0 |  | 0
6.2 | 0.37455 | 0.62545 | 45 | 1.5 | 67.5 | 6.2 | 25.2824 |  | 42.2176
6.1 | 0.32244 | 0.67756 | 0 | 1.5 | 0 | 6.1 | 0 |  | 0
6 | 0.27446 | 0.72554 | 45 | 1.5 | 67.5 | 6 | 18.526 |  | 48.9739
5.9 | 0.23122 | 0.76878 | 0 | 1.5 | 0 | 5.9 | 0 |  | 0
5.8 | 0.19299 | 0.80701 | 45 | 1.5 | 67.5 | 5.8 | 13.0269 |  | 54.4731
5.7 | 0.15975 | 0.84025 | 0 | 1.5 | 0 | 5.7 | 0 |  | 0
5.6 | 0.13125 | 0.86875 | 45 | 1.5 | 67.5 | 5.6 | 8.8594 |  | 58.6406
5.5 | 0.10708 | 0.89292 | 0 | 1.5 | 0 | 5.5 | 0 |  | 0
5.4 | 0.086738 | 0.91326 | 45 | 1.5 | 67.5 | 5.4 | 5.8548 |  | 61.6452
5.2 | 0.055488 | 0.94451 | 0 | 1.5 | 0 | 5.2 | 0 |  | 0
5 | 0.033537 | 0.96646 | 45 | 1.5 | 67.5 | 5 | 2.2637 |  | 65.2363
[6 empty] | total volume | 147.254 |  | 392.746
[6 empty] | volume to prep | 250 |  | 500
[6 empty] | vol left | 102.746 |  | 107.254
[6 empty] | 4.5ml vials | 25.6865 |  | 26.8135