## Calibration Summary
Pipette | Leak test (pass/fail) | 100% Volume Tests (pass/fail) | 10% Volume Tests (pass/fail) | Calibration Needed? (yes/no)
10mL (1) |  |  |  | YES
10mL (2) |  |  |  | YES
10mL (3) |  |  |  | YES
5mL (1) |  |  |  | YES
5mL (2) |  |  |  | YES
1000μL (1) |  |  |  | YES
1000μL (2) |  |  |  | YES
1000μL (3) |  |  |  | YES
1000μL (4) |  |  |  | YES
1000μL (5) |  |  |  | YES
1000μL (6) |  |  |  | YES
300μL (1) |  |  |  | YES
300μL (2) |  |  |  | YES
300μL (3) |  |  |  | YES
100μL (1) |  |  |  | YES
100μL (2) |  |  |  | YES
100μL (3) |  |  |  | YES
100μL (4) |  |  |  | YES
10μL (1) |  |  |  | YES
10μL (2) |  |  |  | YES
10μL (3) |  |  |  | YES
10μL (4) |  |  |  | YES
10μL (5) |  |  |  | YES
2.5μL (1) |  |  |  | YES
2.5μL (2) |  |  |  | YES
2.5μL (3) |  |  |  | YES
2μL (1) |  |  |  | YES
Systematic Error must be within ±0.6%, or pipette fails calibration
Note on B1: Yackzan, Andrew T.: NOTE: must input text as ALL CAPS or the "If/Not" function won't work properly
Note on C1: Yackzan, Andrew T.: NOTE: must input text as ALL CAPS or the "If/Not" function won't work properly
Note on D1: Yackzan, Andrew T.: NOTE: must input text as ALL CAPS or the "If/Not" function won't work properly

## 100% Volume Calculations
Pipette | Leak test (pass/fail) | Micrograms diH2O @ 100% volume | Mean Volume | Repeats | Systematic Error @ 100% Volume |  |  |  | Mean Sys. Error | Random Error @ 100% Volume |  |  |  | Mean Rand. Error | Coeefficient of Variation in % | Pass/Fail Calibration
10mL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10mL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10mL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5mL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5mL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (4) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (5) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (6) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
300μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
300μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
300μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (4) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (4) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (5) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2.5μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2.5μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2.5μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Systematic Error must be within ±0.6%, or pipette fails calibration
Note on I1: Yackzan, Andrew T.: Systematic Error must be within ±0.6%, or pipette fails calibration

## 10% Volume Calculations
Pipette | Leak test (pass/fail) | Micrograms diH2O @ 10% volume | Mean Volume | Repeats | Systemic Error @ 10% Volume |  |  |  | Mean Sys. Error | Precision @ 10% Volume |  |  |  | Mean Rand. Error | Coeefficient of Variation in % | Pass/Fail Calibration
10mL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10mL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10mL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5mL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5mL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (4) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (5) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1000μL (6) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
300μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
300μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
300μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
100μL (4) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (4) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10μL (5) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2.5μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2.5μL (2) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2.5μL (3) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2μL (1) |  |  | #DIV/0! | 4 | NaN | NaN | NaN | NaN | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Systematic Error must be within ±0.6%, or pipette fails calibration
Note on I1: Yackzan, Andrew T.: Systematic Error must be within ±0.6%, or pipette fails calibration
Note on C5: Yackzan, Andrew T.: 20% max volume (1mL)
Note on D5: Yackzan, Andrew T.: 20% max volume (1mL)
Note on E5: Yackzan, Andrew T.: 20% max volume (1mL)
Note on F5: Yackzan, Andrew T.: 20% max volume (1mL)
Note on G5: Yackzan, Andrew T.: 20% max volume (1mL)
Note on C6: Yackzan, Andrew T.: 20% max volume (1mL)
Note on D6: Yackzan, Andrew T.: 20% max volume (1mL)
Note on E6: Yackzan, Andrew T.: 20% max volume (1mL)
Note on F6: Yackzan, Andrew T.: 20% max volume (1mL)
Note on G6: Yackzan, Andrew T.: 20% max volume (1mL)